## SearchStrategy
Product Name: | Post-OP-dressings
Date from: | 2020-01-01
Date to: | 2020-12-31
SearchStrategy-ID | Search Term | BfArM | Maude | Maude | Maude | Maude | Maude | Maude | Maude | Maude | FDA | FDA | FDA | FDA | FDA | FDA | FDA | FDA | ANSM | AEMPS
|  | Search item | Product Problem | Product Class | Event Type | Manufacturer | Model Number | Report Number | Brand name | Product Code | Product Name | Product Code | Recall Classes | In Vitro Devices | Reason for Recall | Recalling FIrm | Root Cause | Sort by | Search Item | Search Item
1 | Cosmopor | BfArM: Cosmopor; Maude: 1234124; FDA: Cosmopor; ANSM: Cosmopor; AEMPS: Cosmopor
2 | Seraphram | BfArM: Seraphram; Maude: Malfunction; Maude: Seraphram; FDA: Seraphram; ANSM: Seraphram; AEMPS: Seraphram
3 | Curapor | BfArM: Curapor; Maude: Death; Maude: Curapor; FDA: Curapor; ANSM: Curapor; AEMPS: Curapor
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29 |  | BfArM: Error-ID: Line-Angabe im Falle eines Fehlers
30
31 |  | BfArM: Ein Dokument für Input und Output
32 |  | BfArM: Bei Fehler wird Outputfile nicht erstellt
33
35 |  | BfArM: Automatisierung: Aktualisierung von Dropdown-items
Note on T6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: There are alot of filters for this one. Are they using it?

## DatabaseReview
Hit No. | SearchStrategy-ID | Date | Identifiers | Title | Description | Reason for exclusion | Comment / Evaluation
1 |  | 2013-03-01 | 00910/13 | Recall Information: Curapor transparent, Curafix i.v. control and Raucodrape Inzisionsfolie, Lohmann & Rauscher | The manufacturer Lohmann & Rauscher informs about the recall of one lot of each of the following products Curapor transparent, Curafix i.v. control and Raucodrape Inzisionsfolie, because the sterility cannot be guaranteed. The Advisory Notice is only available in German language. | - | F-009/H-036/C-093/M-118:
[7 empty] | Production / sterilization process: | Idee: Verknüpfung SearchStrategy-ID mit review-result-ID
Definition of suitable sterilization methods and sterilization processes to ensure the sterility of the products.
Proof of implementation:
- Sterilization Validation Report.
Proof of effectiveness:
- Biological Evaluation Report.
- Batch release documentation by Quality Department.
[SbP - Safety by process]
2 |  | 2013-03-01 | 00910 /13 | Recall Information: Curapor transparent, Curafix i.v. control and Raucodrape Inzisionsfolie, Lohmann & Rauscher | The manufacturer Lohmann & Rauscher informs about the recall of one lot of each of the following products Curapor transparent, Curafix i.v. control and Raucodrape Inzisionsfolie, because the sterility cannot be guaranteed. The Advisory Notice is only available in German language. | D | -
3 |  | 2019-05-23 | 06852/19 | Urgent Field Safety Notice for Intro-Flex Percutaneous Sheath Introducers [Tray, 9F high-flow] by Edwards Lifesciences LLC | This non-conformance involves the IntroFlex Introducer in which the nylon disc is out of specification. The nylon disk was too small and therefore, the user was unable to pass the dilator through the introducer. The nylon disk being out of specification does not affect leakage as the nylon disk does not act as a barrier to prevent leakage. Therefore, if the dilator was unable to pass through the introducer, the device can be exchanged with a minimal delay in procedure. | S | -
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Fortlaufende Nummer der Suchergebnisse. Datenbankübergreifend.
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Aus SearchStrategy: Welche Zeile hat das Ergebnis geliefert
Note on C1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wird geliefert (Quellen (Screenshots) aus den versch. Datenbanken)
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wird geliefert (Quellen (Screenshots) aus den versch. Datenbanken)
Note on F1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wird geliefert (Quellen (Screenshots) aus den versch. Datenbanken)
Note on G1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Nicht relevant
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Nicht relevant

## Dropdowns
Maude
Event Type | Death | Injury | Malfunction | Other